## all_metadata
id | path | level | combination_logic | attribute_name | attribute_accession | allow_children | description | value_rule | value_constraint | has_units | notes | link
has_library_format_version | /Library | MUST |  | library format version | MS:1003186 |  | "Version number of the [PSI] library format specification" [PSI:PI] | value_of_type | xsd:string |  |  | Open Issue
has_library_identifier | /Library | SHOULD |  | library identifier | MS:1003187 |  | "Short identifier for the library for easy reference, preferably but not necessarily globally unique" [PSI:PI] | value_of_type | xsd:string |  |  | Open Issue
has_library_name | /Library | MUST |  | library name | MS:1003188 |  | "A short name identifying the library to potential users. The same name may refer to multiple versions of the same continually updated library." [PSI:PI] | value_of_type | xsd:string |  |  | Open Issue
has_library_description | /Library | MAY |  | library description | MS:1003189 |  | "Extended free-text description of the library" [PSI:PI] | value_of_type | xsd:string |  |  | Open Issue
has_library_version | /Library | MAY |  | library version | MS:1003190 |  | "Version number of the library, usually refering to a certain release of a continually updated library " [PSI:PI] | value_of_type | xsd:string |  |  | Open Issue
has_library_uri | /Library | MAY |  | library URI | MS:1003191 |  | "URI or URL that uniquely identifies the library" [PSI:PI] | value_of_type | xsd:string |  |  | Open Issue
has_release_date | /Library | MAY |  | release date | MS:1001017 |  | "Date and time at which a product was publicly released. For mzIdentML, use the database release date XML attribute instead of this term." [PSI:PI] | value_of_type | xsd:datetime |  |  | Open Issue
has_reference | /Library | MAY |  | Reference | MS:1002866 |  | "Literature reference associated with one dataset (including the authors, title, year and journal details). The value field can be used for the PubMedID, or to specify if one manuscript is just submitted or accepted, but it does not have a PubMedID yet." [PSI:PI] | value_of_type | xsd:string |  |  | Open Issue
has_digital_object_identifier_(doi) | /Library | MAY |  | Digital Object Identifier (DOI) | MS:1001922 |  | "DOI unique identifier of a publication." [PSI:PI, http://dx.doi.org] | value_of_type | xsd:string |  |  | Open Issue
has_pubmed_identifier | /Library | MAY |  | PubMed identifier | MS:1000879 |  | "A unique identifier for a publication in the PubMed database (MIR:00000015)." [PSI:MS] | value_of_type | xsd:integer |  |  | Open Issue
has_license_uri | /Library | MAY |  | license URI | MS:1003197 |  | "URI of the license controlling use of the library (e.g. https://creativecommons.org/publicdomain/zero/1.0/)" [PSI:PI] | value_of_type | xsd:string |  |  | Open Issue
has_copyright_notice | /Library | MAY |  | copyright notice | MS:1003198 |  | "Notice of statutorily prescribed form that informs users of the underlying claim to copyright ownership in a published work" [PSI:PI] | value_of_type | xsd:string |  |  | Open Issue
has_change_log | /Library | MAY |  | change log | MS:1003199 |  | "Extended free-text description of the difference from the previous version" [PSI:PI] | value_of_type | xsd:string |  |  | Open Issue
has_contact_name | /Library | MAY |  | contact name | MS:1000586 |  | "Name of the contact person or organization." [PSI:MS] | value_of_type | xsd:string |  |  | Open Issue
has_contact_address | /Library | MAY |  | contact address | MS:1000587 |  | "Postal address of the contact person or organization." [PSI:MS] | value_of_type | xsd:string |  |  | Open Issue
has_contact_url | /Library | MAY |  | contact URL | MS:1000588 |  | "Uniform Resource Locator related to the contact person or organization." [PSI:MS] | value_of_type | xsd:string |  |  | Open Issue
has_contact_affiliation | /Library | MAY |  | contact affiliation | MS:1000590 |  | "Home institution of the contact person." [PSI:MS] | value_of_type | xsd:string |  |  | Open Issue
has_contact_email | /Library | MAY |  | contact email | MS:1000589 |  | "Email address of the contact person or organization." [PSI:MS] | value_of_type | xsd:string |  |  | Open Issue
has_contact_role | /Library | MAY |  | contact role | MS:1002033 |  | "Role of the contact person." [PSI:PI] | value_is_child_of | MS:1002033 |  |  | Open Issue
has_library_creation_software | /Library | MAY |  | library creation software | MS:1003207 |  | "Library creation software" [PSI:MS] | value_is_child_of | MS:1003207 |  |  | Open Issue
has_software_version | /Library | MAY |  | software version | MS:1003200 |  | "Version number of the software package used for library creation" [PSI:PI] | value_of_type | xsd:string |  |  | Open Issue
has_library_creation_log | /Library | MAY |  | library creation log | MS:1003206 |  | "String of logging information generated when the library was constructed from its constituent files. Multiple lines should be separated with escaped \n" [PSI:PI] | value_of_type | xsd:string |  |  | Open Issue
has_command-line_parameters | /Library | MAY |  | command-line parameters | MS:1001885 |  | "Parameters string passed to a command-line interface software application, omitting the executable name." [PSI:MS] | value_of_type | xsd:string |  |  | Open Issue
has_constituent_spectrum_file | /Library | MAY |  | constituent spectrum file | MS:1003203 |  | "Spectrum data file from which (at least) a subset of spectra were extracted from. Should use USI notation mzspec:PXDxxxx:msRunName if possible, or a URI if USI notation is not possible." [PSI:PI] | value_of_type | xsd:string |  |  | Open Issue
has_constituent_identification_file | /Library | MAY |  | constituent identification file | MS:1003205 |  | "Source library URI which(at least) a subset of spectra were extracted from." [PSI:PI] | value_of_type | xsd:string |  |  | Open Issue
has_constituent_library_file | /Library | MAY |  | constituent library file | MS:1003205 |  | "Source library URI which(at least) a subset of spectra were extracted from." [PSI:PI] | value_of_type | xsd:string |  |  | Open Issue
has_library_attribute_set_name | /Library | MAY |  | library attribute set name | MS:1003212 |  | "A name to refer to a library attribute set" [PSI:PI] | value_of_type | xsd:string |  |  | Open Issue
has_spectrum_cluster_key | /Library/Cluster | MAY |  | spectrum cluster key | MS:1003267 |  | "An ordinal number uniquely identifying a spectrum cluster. It should start with 1." [PSI:PI] | value_of_type | xsd:integer |  |  | Open Issue
has_spectrum_cluster_member_spectrum_keys | /Library/Cluster | MAY |  | spectrum cluster member spectrum keys | MS:1003268 |  | "A list of integers corresponding to the library spectrum keys of the members of this cluster. These members must be in the same library." [PSI:PI] |  |  |  |  | Open Issue
has_spectrum_cluster_member_usi | /Library/Cluster | MAY |  | spectrum cluster member USI | MS:1003269 |  | "A member of this cluster external to the library, specified using a PSI Universal Spectrum Identifier." [PSI:PI] | value_of_type | xsd:string |  |  | Open Issue
has_library_spectrum_key | /Library/Spectrum | MUST |  | library spectrum key | MS:1003237 |  | "An ordinal number uniquely identifying a spectrum in a library. Library spectrum keys should start at 1. Library spectrum keys SHOULD not change if entries are re-ordered or removed from a library." [PSI:PI] | value_of_type | xsd:integer |  |  | Open Issue
has_library_spectrum_index | /Library/Spectrum | MAY |  | library spectrum index | MS:1003062 |  | "Integer index value that indicates the spectrum's ordered position within a spectral library. By custom, index counters should begin with 0." [PSI:PI] | value_of_type | xsd:integer |  |  | Open Issue
has_library_spectrum_name | /Library/Spectrum | MAY |  | library spectrum name | MS:1003061 |  | "Label attached to a spectrum uniquely naming it within a collection of spectra, often in a spectral library. It is often a string combination of peptide sequence, charge, mass modifications, collision energy, but will obviously be different for small molecules or unidentified spectra. It must be unique within a collection." [PSI:PI] | value_of_type | xsd:string |  |  | Open Issue
has_universal_spectrum_identifier | /Library/Spectrum | MAY |  | universal spectrum identifier | MS:1003063 |  | "PSI universal spectrum identifier (USI) multipart key that uniquely identifies a spectrum available in a ProteomeXchange datasets or spectral library." [PSI:PI] | value_of_type | xsd:string |  |  | Open Issue
has_splash_key | /Library/Spectrum | MAY |  | splash key | MS:1002599 |  | "Spectral Hash key, an unique identifier for spectra." [PMID:27824832] | value_of_type | xsd:string |  |  | Open Issue
has_library_spectrum_comment | /Library/Spectrum | MAY |  | library spectrum comment | MS:1003168 |  | "A free-text string providing additional information of the library spectrum not encoded otherwise, usually for human use and not parsed by software tools." [PSI:PI] | value_of_type | xsd:string |  |  | Open Issue
has_ms_level | /Library/Spectrum | MAY |  | ms level | MS:1000511 |  | "Stage number achieved in a multi stage mass spectrometry acquisition." [PSI:MS] | value_of_type | xsd:integer |  |  | Open Issue
has_ionization_type | /Library/Spectrum | MAY |  | ionization type | MS:1000008 |  | "The method by which gas phase ions are generated from the sample." [PSI:MS] | value_is_child_of | MS:1000008 |  |  | Open Issue
has_instrument_model | /Library/Spectrum | MAY |  | instrument model | MS:1000031 |  | "Instrument model name not including the vendor's name." [PSI:MS] | value_is_child_of | MS:1000031 |  |  | Open Issue
has_mass_analyzer_type | /Library/Spectrum | MAY |  | mass analyzer type | MS:1000443 |  | "Mass analyzer separates the ions according to their mass-to-charge ratio." [PSI:MS] | value_is_child_of | MS:1000443 |  |  | Open Issue
has_dissociation_method | /Library/Spectrum | SHOULD |  | dissociation method | MS:1000044 |  | "Fragmentation method used for dissociation or fragmentation." [PSI:MS] | value_is_child_of | MS:1000044 |  |  | Open Issue
has_mass_spectrometry_acquisition_method | /Library/Spectrum | MAY |  | mass spectrometry acquisition method | MS:1003213 |  | "Mode of running a mass spectrometer method by which mass ranges are selected and possibly dissociated." [PSI:MS] | value_is_child_of | MS:1003213 |  |  | Open Issue
has_collision_gas | /Library/Spectrum | MAY |  | collision gas | MS:1000419 |  | "An inert gas used for collisional excitation. The term target gas is not recommended." [PSI:MS] | value_of_type | xsd:string |  |  | Open Issue
has_collision_energy | /Library/Spectrum | SHOULD |  | collision energy | MS:1000045 |  | "Energy for an ion experiencing collision with a stationary gas particle resulting in dissociation of the ion." [PSI:MS] | value_of_type | xsd:float | UO:0000266¦electronvolt |  | Open Issue
has_normalized_collision_energy | /Library/Spectrum | MAY |  | normalized collision energy | MS:1000138 |  | "Instrument setting, expressed in percent, for adjusting collisional energies of ions in an effort to provide equivalent excitation of all ions." [PSI:PI] | value_of_type | xsd:float | UO:0000187¦percent |  | Open Issue
has_experimental_precursor_monoisotopic_m/z | /Library/Spectrum | SHOULD |  | experimental precursor monoisotopic m/z | MS:1003208 |  | "The measured or inferred m/z (as reported by the mass spectrometer acquisition software or post-processing software) of the monoisotopic peak of the precursor ion based on the MSn-1 spectrum." [PSI:MS] | value_of_type | xsd:float | MS:1000040¦m/z | NOTE: This is the preferred term for specification of the precursor m/z in typical use cases. If the specification of the isolation window is desired, the terms MS:1000827¦isolation window target m/z, MS:1000828¦isolation window lower offset, MS:1000829¦isolation window upper offset should be used. The terms MS:1000744¦selection ion m/z and MS:1002234¦selection precursor m/z are unclear and should be avoided. | Open Issue
has_isolation_window_target_m/z | /Library/Spectrum | MAY |  | isolation window target m/z | MS:1000827 |  | "The primary or reference m/z about which the isolation window is defined." [PSI:MS] | value_of_type | xsd:float | MS:1000040¦m/z |  | Open Issue
has_isolation_window_lower_offset | /Library/Spectrum | MAY |  | isolation window lower offset | MS:1000828 |  | "The extent of the isolation window in m/z below the isolation window target m/z. The lower and upper offsets may be asymmetric about the target m/z." [PSI:MS] | value_of_type | xsd:float | MS:1000040¦m/z |  | Open Issue
has_isolation_window_upper_offset | /Library/Spectrum | MAY |  | isolation window upper offset | MS:1000829 |  | "The extent of the isolation window in m/z above the isolation window target m/z. The lower and upper offsets may be asymmetric about the target m/z." [PSI:MS] | value_of_type | xsd:float | MS:1000040¦m/z |  | Open Issue
has_retention_time | /Library/Spectrum | MAY |  | retention time | MS:1000894 |  | "A time interval from the start of chromatography when an analyte exits a chromatographic column." [PSI:MS] | value_of_type | xsd:float | UO:0000010¦second;UO:0000031¦minute |  | Open Issue
has_normalized_retention_time | /Library/Spectrum | MAY |  | normalized retention time | MS:1000896 |  | "A time interval from the start of chromatography when an analyte exits a standardized reference chromatographic column and instrumental setup." [PSI:MS] | value_of_type | xsd:float | UO:0000010¦second;UO:0000031¦minute |  | Open Issue
has_retention_time_normalization_standard | /Library/Spectrum | MAY |  | retention time normalization standard | MS:1000901 |  | "A standard providing the retention times at which a set of reference compounds exit the reference chromatographic column." [PSI:MS] | value_is_child_of | MS:1000901 |  |  | Open Issue
has_ion_mobility_drift_time | /Library/Spectrum | MAY |  | ion mobility drift time | MS:1002476 |  | "Drift time of an ion or spectrum of ions as measured in an ion mobility mass spectrometer. This time might refer to the central value of a bin into which all ions within a narrow range of drift time have been aggregated." [PSI:MS] | value_of_type | xsd:float | UO:0000028¦millisecond |  | Open Issue
has_inverse_reduced_ion_mobility | /Library/Spectrum | MAY |  | inverse reduced ion mobility | MS:1002875 |  | "Thermo Scientific TSQ Quantis Triple Quadrupole MS." [PSI:PI] | value_of_type | xsd:float |  |  | Open Issue
has_collision_cross_sectional_area | /Library/Spectrum | MAY |  | collision cross sectional area | MS:1002954 |  | "Structural molecular descriptor for the effective interaction area between the ion and neutral gas measured in ion mobility mass spectrometry." [PSI:PI] | value_of_type | xsd:double | UO:0000324¦square angstrom |  | Open Issue
has_faims_compensation_voltage | /Library/Spectrum | MAY |  | FAIMS compensation voltage | MS:1001581 |  | "The DC potential applied to the asymmetric waveform in FAIMS that compensates for the difference between high and low field mobility of an ion." [PSI:MS] | value_of_type | xsd:double | UO:0000218¦volt |  | Open Issue
has_scan_polarity | /Library/Spectrum | MAY |  | scan polarity | MS:1000465 |  | "Relative orientation of the electromagnetic field during the selection and detection of ions in the mass spectrometer." [PSI:MS] | value_is_child_of | MS:1000465 |  |  | Open Issue
has_filter_string | /Library/Spectrum | MAY |  | filter string | MS:1000512 |  | "A string unique to Thermo instrument describing instrument settings for the scan." [PSI:MS] | value_of_type | xsd:string |  |  | Open Issue
has_mass_resolution | /Library/Spectrum | MAY |  | mass resolution | MS:1000011 |  | "Smallest mass difference between two equal magnitude peaks so that the valley between them is a specified fraction of the peak height." [PSI:MS] | value_of_type | xsd:string |  |  | Open Issue
has_mass_resolving_power | /Library/Spectrum | MAY |  | mass resolving power | MS:1000800 |  | "The observed mass divided by the difference between two masses that can be separated: m/dm. The procedure by which dm was obtained and the mass at which the measurement was made should be reported." [PSI:MS] | value_of_type | xsd:string |  |  | Open Issue
has_precursor_apex_intensity | /Library/Spectrum | MAY |  | precursor apex intensity | MS:1003086 |  | "Intensity of the precursor ion current as measured by its apex point over time and m/z. It is unspecified whether this is the intensity of the selected isotope or the most intense isotope." [PSI:MS] | value_of_type | xsd:float |  |  | Open Issue
has_previous_msn-1_scan_precursor_intensity | /Library/Spectrum | MAY |  | previous MSn-1 scan precursor intensity | MS:1003085 |  | "Intensity of the precursor ion in the previous MSn-1 scan (prior in time to the referencing MSn scan). For an MS2 scan, this means the MS1 precursor intensity. It is unspecified on whether this is an apex (across m/z) intensity, integrated (across m/z) intensity, a centroided peak intensity of unknown origin, or even summed across several isotopes." [PSI:MS] | value_of_type | xsd:double |  |  | Open Issue
has_possible_charge_state | /Library/Spectrum | MAY |  | possible charge state | MS:1000633 |  | "A possible charge state of the ion in a situation where the charge of an ion is known to be one of several possible values rather than a completely unknown value or determined to be a specific charge with reasonable certainty." [PSI:MS] | value_of_type | xsd:integer |  |  | Open Issue
has_charge_state | /Library/Spectrum | MAY |  | charge state | MS:1000041 |  | "Number of net charges, positive or negative, on an ion." [PSI:MS] | value_of_type | xsd:integer |  | The 'charge state' attribute has two different meanings depending on its context. When this attribute is included under <Spectrum=...>, it is used to denote the experimental charge state of the precursor as inferred from the data (e.g. by the isotopic pattern of the precursor peak in the MSn-1 spectrum). If the spectrum is identified to an analyte, the charge state refers to that of the analyte believed to produce this spectrum. In such cases, the charge state attribute should be included in the <Analyte=> section instead. | Open Issue
has_number_of_peaks | /Library/Spectrum | MAY |  | number of peaks | MS:1003059 |  | "Number of peaks or features in a spectrum. For a peak-picked spectrum, this will correspond to the number of data points. For a non-peak-picked spectrum, this corresponds to the number of features discernable in the spectrum, which will be fewer than the number of data points." [PSI:PI] | value_of_type | xsd:integer |  | This is the preferred term for a peak-picked (centroid) spectrum. Use the term 'MS:1003060¦number of data point' for a non-peak-picked (profile) spectrum. | Open Issue
has_number_of_data_points | /Library/Spectrum | MAY |  | number of data points | MS:1003060 |  | "Number of data points in a spectrum. For a peak-picked spectrum, this will correspond to the number of peaks. For a non-peak-picked spectrum, this corresponds to the number of values in the data array, which are not all peaks." [PSI:PI] | value_of_type | xsd:integer |  | This is the preferred term for a non-peak-picked (profile) spectrum. Use the term 'MS:1003059¦number of peaks' for a peak-picked (centroid) spectrum. | Open Issue
has_intensity_unit | /Library/Spectrum | MAY |  | intensity unit | MS:1000034 |  | "The determination of the mass of an ion based on the mass spectral peaks that represent multiple-charge ions." [PSI:MS] | value_is_child_of | MS:1000034 |  |  | Open Issue
has_base_peak_intensity | /Library/Spectrum | MAY |  | base peak intensity | MS:1000505 |  | "The intensity of the greatest peak in the mass spectrum." [PSI:MS] | value_of_type | xsd:float | MS:1000131¦number of detector counts;MS:1000132¦percent of base peak;MS:1000814¦counts per second;MS:1000905¦percent of base peak times 100;UO:0000269¦absorbance unit |  | Open Issue
has_signal-to-noise_ratio | /Library/Spectrum | MAY |  | signal-to-noise ratio | MS:1001884 |  | "Unitless number providing the ratio of the total measured intensity of a signal relative to the estimated noise level for that signal." [PSI:MS] | value_of_type | xsd:float |  |  | Open Issue
has_total_ion_current | /Library/Spectrum | MAY |  | total ion current | MS:1000285 |  | "The sum of all the separate ion currents carried by the ions of different m/z contributing to a complete mass spectrum or in a specified m/z range of a mass spectrum." [PSI:MS] | value_of_type | xsd:float |  |  | Open Issue
has_spectrum_representation | /Library/Spectrum | SHOULD |  | spectrum representation | MS:1000525 |  | "Way in which the spectrum is represented, either with regularly spaced data points or with a list of centroided peaks." [PSI:MS] | value_is_child_of | MS:1000525 |  |  | Open Issue
has_data_processing_action | /Library/Spectrum | MAY |  | data processing action | MS:1000543 |  | "Data processing attribute used to describe the type of data processing performed on the data file." [PSI:MS] | value_is_child_of | MS:1000543 |  |  | Open Issue
has_spectrum_origin_type | /Library/Spectrum | SHOULD |  | spectrum origin type | MS:1003072 |  | "Categorization of a spectrum based on its origin (e.g., observed spectrum, predicted spectrum, demultiplexed spectrum, etc.)." [PSI:PI] | value_is_child_of | MS:1003072 |  |  | Open Issue
has_spectrum_aggregation_type | /Library/Spectrum | SHOULD |  | spectrum aggregation type | MS:1003065 |  | "Categorization of a spectrum based on its type of aggregation (e.g., individual spectrum, consensus spectrum, best replicate spectrum, etc.)." [PSI:PI] | value_is_child_of | MS:1003065 |  |  | Open Issue
has_ion_annotation_format | /Library/Spectrum | MAY |  | ion annotation format | MS:1003103 |  | "Annotation format used for annotating individual spectrum ion peaks." [PSI:MS] | value_is_child_of | MS:1003103 |  |  | Open Issue
has_number_of_replicate_spectra_used | /Library/Spectrum | MAY |  | number of replicate spectra used | MS:1003070 |  | "Number of replicate spectra used during the aggregation process. This is generally applicable when there are many replicates available, but some are discarded as being low S/N, blended, or otherwise unsuitable, and the remaining set is then used for merging via a consensus algorithm." [PSI:PI] | value_of_type | xsd:integer |  |  | Open Issue
has_number_of_replicate_spectra_available | /Library/Spectrum | MAY |  | number of replicate spectra available | MS:1003069 |  | "Number of replicate spectra available for use during the aggregation process." [PSI:PI] | value_of_type | xsd:integer |  |  | Open Issue
has_summary_statistics_of_replicate_spectra | /Library/Spectrum | MAY |  | summary statistics of replicate spectra | MS:1003295 |  | "Summary statistics of an attribute among all replicates that are aggregated to generate this spectrum." [PSI:PI] | value_is_child_of | MS:1003295 |  | It should appear in a group with MS:1003174 - MS:1003180 to specify the type and value of the summary statistic. | Open Issue
has_number_of_replicate_spectra_from_source | /Library/Spectrum | MAY |  | number of replicate spectra from source | MS:1003296 |  | "The number of replicate spectra used during the aggregation process that originate from a specified source (e.g. a file, a dataset, a sample type, etc.). This term must appear in a group alongside a source term, which is one of: 'ProteomeXchange accession number', 'constituent spectrum file', or 'sample name'" [PSI:PI] | value_of_type | xsd:string |  |  | Open Issue
has_contributing_replicate_spectrum_keys | /Library/Spectrum | MAY |  | contributing replicate spectrum keys | MS:1003298 |  | "A list of cross references to contributing replicate spectra in the same library, in the form of library spectrum keys." [PSI:PI] |  |  |  |  | Open Issue
has_contributing_replicate_spectrum_usi | /Library/Spectrum | MAY |  | contributing replicate spectrum USI | MS:1003299 |  | "A list of cross references to contributing replicate spectra, in the form of PSI Universal Spectrum Identifiers." [PSI:PI] |  |  |  |  | Open Issue
has_related_spectrum_keys | /Library/Spectrum | MAY |  | related spectrum keys | MS:1003259 |  | "A list of cross references to a related spectrum in the same library, in the form of the library spectrum key. " [PSI:PI] |  |  |  |  | Open Issue
has_related_spectrum_usi | /Library/Spectrum | MAY |  | related spectrum USI | MS:1003260 |  | "A cross reference to a related spectrum in the form of a PSI Universal Spectrum Identifier" [PSI:PI] | value_of_type | xsd:string |  |  | Open Issue
has_related_spectrum_description | /Library/Spectrum | MAY |  | related spectrum description | MS:1003261 |  | "A free-text string describing the related spectrum and/or its relationship to this spectrum" [PSI:PI] | value_of_type | xsd:string |  |  | Open Issue
has_similar_spectrum_keys | /Library/Spectrum | MAY |  | similar spectrum keys | MS:1003263 |  | "A list of cross references to a similar spectrum in the same library, in the form of the library spectrum key. " [PSI:PI] |  |  |  |  | Open Issue
has_similar_spectrum_usi | /Library/Spectrum | MAY |  | similar spectrum USI | MS:1003264 |  | "A cross reference to a similar spectrum in the form of a PSI Universal Spectrum Identifier" [PSI:PI] | value_of_type | xsd:string |  |  | Open Issue
has_peak_attribute | /Library/Spectrum | MAY |  | peak attribute | MS:1003254 |  | "An attribute of a peak in a mass spectrum other than its m/z, intensity, and annotation. " [PSI:PI] | value_is_child_of | MS:1003254 |  |  | Open Issue
has_charge_state | /Library/Spectrum/Analyte | MAY |  | charge state | MS:1000041 |  | "Number of net charges, positive or negative, on an ion." [PSI:MS] | value_of_type | xsd:integer |  | The 'charge state' attribute has two different meanings depending on its context. When this attribute is included under <Spectrum=...>, it is used to denote the experimental charge state of the precursor as inferred from the data (e.g. by the isotopic pattern of the precursor peak in the MSn-1 spectrum). If the spectrum is identified to an analyte, the charge state refers to that of the analyte believed to produce this spectrum. In such cases, the charge state attribute should be included in the <Analyte=> section instead. | Open Issue
has_theoretical_mass | /Library/Spectrum/Analyte | MAY |  | theoretical mass | MS:1001117 |  | "The theoretical neutral mass of the molecule (e.g. the peptide sequence and its modifications) not including its charge carrier." [PSI:PI] | value_of_type | xsd:double | UO:0000221¦dalton | This is the theoretical mass of the neutral molecule (does not include the charge-giving moiety. Use the term 'MS:1003243¦adduct ion mass' to refer to the mass of the adduct ion, which includes the charge-giving moiety. | Open Issue
has_adduct_ion_mass | /Library/Spectrum/Analyte | MAY |  | adduct ion mass | MS:1003243 |  | "The theoretical mass of the adduct ion (e.g. for a singly-charged protonated peptide ion, this value would be the neutral peptide molecule's mass plus the mass of a proton)" [PSI:PI] | value_of_type | xsd:float |  |  | Open Issue
has_adduct_ion_formula | /Library/Spectrum/Analyte | MAY |  | adduct ion formula | MS:1002813 |  | "Adduct formation formula of the form M+X or M-X, as constrained by the provided regular expression." [PSI:MS] | value_of_type | xsd:string |  | For peptides, absence of this field implies that the adduct ion is [M+nH]n+ where n is the charge state. The regular expression for this field is given in the definition of MS:1002812¦Regular expression for adduct ion formula. | Open Issue
has_theoretical_monoisotopic_m/z | /Library/Spectrum/Analyte | MAY |  | theoretical monoisotopic m/z | MS:1003053 |  | "Mass-to-charge ratio of a peptidoform ion composed of the most common isotope of each atom computed from the putative knowledge of its molecular constituents." [PSI:PI] | value_of_type | xsd:float |  |  | Open Issue
has_theoretical_average_m/z | /Library/Spectrum/Analyte | MAY |  | theoretical average m/z | MS:1003054 |  | "Mass-to-charge ratio of a peptidoform ion computed from the putative knowledge of its molecular constituents, averaged over the distribution of naturally occurring isotopes." [PSI:PI] | value_of_type | xsd:float |  |  | Open Issue
has_taxonomy:_scientific_name | /Library/Spectrum/Analyte | MAY |  | taxonomy: scientific name | MS:1001469 |  | "This term is used if a scientific name is specified, e.g. Homo sapiens. Recommend using MS:1001467 (taxonomy: NCBI TaxID) where possible." [PSI:PI] | value_of_type | xsd:string |  |  | Open Issue
has_taxonomy:_common_name | /Library/Spectrum/Analyte | MAY |  | taxonomy: common name | MS:1001468 |  | "This term is used if a common name is specified, e.g. human. Recommend using MS:1001467 (taxonomy: NCBI TaxID) where possible." [PSI:PI] | value_of_type | xsd:string |  |  | Open Issue
has_taxonomy:_ncbi_taxid | /Library/Spectrum/Analyte | MAY |  | taxonomy: NCBI TaxID | MS:1001467 |  | "This term is used if a NCBI TaxID is specified, e.g. 9606 for Homo sapiens." [PSI:PI] | value_of_type | xsd:string |  |  | Open Issue
has_sample_label | /Library/Spectrum/Analyte | MAY |  | sample label | MS:1002602 |  | "Reagent used in labeled quantification methods." [PSI:PI] | value_is_child_of | MS:1002602 |  |  | Open Issue
has_sample_name | /Library/Spectrum/Analyte | MAY |  | sample name | MS:1000002 |  | "A reference string relevant to the sample under study." [PSI:MS] | value_of_type | xsd:string |  |  | Open Issue
has_smiles_formula | /Library/Spectrum/Analyte | MAY |  | SMILES formula | MS:1000868 |  | "The simplified molecular input line entry specification or SMILES is a specification for unambiguously describing the structure of a chemical compound using a short ASCII string." [EDAM:2301] | value_of_type | xsd:string |  |  | Open Issue